|  |  |  |  |
| --- | --- | --- | --- |
|  |  | **ISSUE DATE:**  | 02/24/2016 |
| RFQ # | **MA181158Q** | **RFQ DUE DATE:** | **03/01/2016 @ 11:00 am** |
|  **DELIVER TO:** |  **REQUESTED BY / RETURN QUOTE TO:** |
| **DEPARTMENT:** | Library | **NAME:** | Michele Andersen |
| **ADDRESS:** |  | **E-MAIL:** | michele.andersen@oregonstate.edu |
| **CITY, STATE ZIP:** |  | **TELEPHONE:** | 541-737-3667 |
| **REQUIRED DELIVERY DATE:** | ASAP | **FAX:** | 541-737-2170 |
| **ITEM** | **DESCRIPTION** | **QTY** | **UNIT** | **UNIT PRICE** | **TOTAL PRICE** |
| 1 | Book Scanner Requirements:* low heat LED lighting
* 0% UV radiation lighting
* auto-adjusting book cradle
* removable glass plate
* pressure sensitive glass plate
* anti-reflective glass plate
* page curvature correction software
* high scanning speed
* 600 ppi
* 42 bit color
* Multi-format file production (TIFF, JPEG, PDF, etc.)
* ability to digitize large-format books (up to 18” x 14”)
 | 1 | EA |  |  |
| 2 | Software for scanner: Imaging Kit, 3D, Scan Resolution | 1 | Set |  |  |
| 3 | 90 Degree Book holder | 1 | EA |  |  |
| 4 | 140 Degree Book Holder | 1 | EA |  |  |
| 5 | On-site Installation and Training | 1 | EA |  |  |
| **Delivery is f.o.b. destination, prepaid and allowed. Shipping, freight and handling must be included in quoted prices. Additional costs for such are disallowed.** | TOTAL |  |
| **DELIVERY TIME AFTER RECEIPT OF ORDER:** |  | **PRICES VALID THROUGH:** |  |
| **SPECIAL INSTRUCTIONS:** | **VENDOR INFORMATION:** |
| 1. Unless otherwise specified, all items quoted are to be new, unused and not remanufactured in any way. 2. Brand names are for the purpose of describing and establishing the characteristics desired and are not intended to limit or restrict competition. Quoters may submit quotes for substantially equivalent products unless the RFQ provides that a specific brand is necessary because of compatibility requirements, etc. All such brand substitutions shall be subject to approval by OSU.3. Quoters must clearly identify all products quoted. Brand name and model or number must be shown. 4. Only documents issued as addenda by OSU serve to change the RFQ in any way.5. OSU reserves the right to make the award by item, partial or whole lots, groups of items or entire quote, whichever is in the best interest of OSU.6. OSU may reject any Quote not in compliance with the RFQ, attachments, and addenda, or if it is in the best interest of OSU.7. This RFQ form must be completed, signed and returned with all required documents. | **COMPANY:** |  |
| **ADDRESS:** |  |
| **CITY, STATE, ZIP:**  |  |
| **CONTACT NAME:** |  |
| **E-MAIL:** |  |
| **TELEPHONE:** |  |
| **FAX:** |  |
| **VENDOR SIGNATURE:***By signature below the undersigned certifies that they are authorized to act on behalf of the quoter and will comply with all aspects of the quote herein.* |
| **SIGNATURE:** |  |
| **NAME/TITLE:** |  |

This procurement is subject to the indicated Oregon State University Standard Terms and Conditions for: [x]  Goods

[ ]  Services [ ]  Purchase Order Construction [ ]  Software. The indicated terms and conditions may be viewed at <http://pacs.oregonstate.edu/terms-and-conditions>