## FIRE Alarm Systems
Bldg. ID | Bldg. Name | ADDRESS | CITY | PANEL TYPE | ANNUCIATOR | NAC | SMOKES | HEATS | DUCTS | PULL STATIONS | ELEVATOR RECALL | SMOKE EVAC | VOICE EVAC | FACP | SPRINKLER WET | SPRINKLER DRY | GLYCOL | PRE-ACTION | CLEAN AGENT SUPPRESSION | ZONE/FLOOR CONTROL VALVE | TAMPER | WATERFLOW | FDC | BACKFLOW | FIRE PUMP | BEAM DETECTOR | VESDA | ANNUAL INSPECTION AND TESTING PRICE PER BUILDING | 3 YEAR WATER-BASED INSPECTION AND TESTING PRICE PER BUILDING | 5 YEAR WATER-BASED INSPECTION AND TESTING PRICE PER BUILDING
0042 | ACCESS LOCK AND KEY SHOP | 560 SW 15TH ST. | Corvallis | SIMPLEX 4001 |  |  | 9 | 1 |  | 4 |  |  |  | 1 | [13 empty] | $
0079 | AG LIFE SCIENCES | 2750 SW Campus Way | Corvallis | EST QUICKSTART | 1 | 1 | 36 | 9 | 6 | 38 | 2 |  |  | 1 | 1 |  | 1 |  |  | 5 | 14 | 5 | 1 | 2 | 1 |  |  | $ |  | $
0090 | AUSTIN HALL | 2751 SW Jefferson Way |  | SIMPLEX 4100 | 1 |  | 38 | 10 | 45 | 1 | 3 |  |  | 1 | 1 |  |  |  |  | 5 | 10 | 5 | 1 | 2 |  | 2 |  | $ |  | $
0067 | BALLARD EXTENSION HALL | 2591 SW Campus Way | Corvallis | SILENT KNIGHT |  |  | 5 |  |  | 8 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 2 | 1 | 1 | 1 |  |  |  | $ |  | $
0156 | BASKETBALL PRACTICE | 2737 SW Ralph Miller Drive |  | SIMPLEX 4100 | 1 |  | 7 | 2 | 24 | 1 | 1 |  |  | 1 | 1 | 1 |  |  |  | 1 | 2 | 2 | 1 |  |  |  |  | $ | $ | $
0690 | BATES HALL (FAMILY STUDY CENTER) | 110 SW 26th Street | Corvallis | PYROTRONICS CP-400 | 1 |  | 27 |  | 4 | 9 | 0 |  |  | 1 | 1 |  |  |  |  | 3 | 5 | 4 | 1 | 2 |  |  |  | $ |  | $
0270 | BENTON HALL | 1650 SW Pioneer Place | Corvallis | SIMPLEX 4010 | 1 | 1 | 63 | 7 |  | 6 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
0206 | BETH RAY | 671 SW 26th St. |  | SIMPLEX 4100 | 1 |  | 5 | 3 | 21 | 11 | 1 |  | 1 | 1 | 1 |  |  |  |  | 4 | 10 | 4 | 1 | 2 |  |  |  | $ |  | $
0018 | BEXELL HALL | 2251 SW Campus Way | Corvallis | SIMPLEX 4100 | 1 |  | 7 | 3 | 9 | 10 | 1 |  |  | 1 | 1 | 1 |  |  |  | 4 | 7 | 5 | 1 | 4 |  |  |  | $ | $ | $
0682 | BURT HALL 1 | 2651 SW Orchard Ave | Corvallis | EST QUICKSTART | 1 |  | 7 |  |  | 12 | 1 |  |  | 1 | [13 empty] | $
0685 | BURT HALL 2 | 2651 SW Orchard Ave | Corvallis | SILENT KNIGHT | [5 empty] | 6 |  |  |  | 1 | 1 |  |  |  |  | 1 | 3 | 1 | 1 |  |  |  |  | $ |  | $
0681 | BURT HALL 3 | 2651 SW Orchard Ave | Corvallis | PYROTRONICS SYS 3 | 1 |  | 61 | 2 | 2 | 2 |  |  |  | 1 | [13 empty] | $
0684 | BURT HALL 4 | 2651 SW Orchard Ave | Corvallis | EST 2 |  |  | 20 |  |  | 4 | 1 |  |  | 1 | [13 empty] | $
0058 | CASCADE HALL | 601 SW 17th Street | Corvallis | SIMPLEX 4010 | 1 |  | 15 | 25 | 1 | 5 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 2 |  |  |  | $ |  | $
0201 | CH2M HILL ALUMNI CENTER | 725 SW 26th Street | Corvallis | FCI | 1 | 2 | 10 | 4 | 10 | 13 | 1 |  | 1 | 1 | 1 |  |  |  |  | 1 | 3 | 1 | 1 | 2 |  |  |  | $ |  | $
0073 | CORDLEY HALL | 2701 SW Campus Way | Corvallis | SILENT KNIGHT |  |  | 13 |  |  | 33 | 2 |  |  | 1 | [13 empty] | $
0007 | COVELL/BATCHELLER | 1791 SW Campus Way | Corvallis | EDWARDS 1300 |  |  | 4 |  |  | 10 | 1 |  |  | 1 | 2 |  |  |  |  | 1 | 3 | 2 | 2 | 2 |  |  |  | $ |  | $
0470 | CREW ROWING | 28255 HWY 34 | Corvallis | GE I/O | 1 |  | 1 | 2 |  | 4 |  |  |  | 1 | [13 empty] | $
0800 | CROP SCIENCE BLDG | 3050 SW Campus Way | Corvallis | PYROTRONICS SYS 3 | 1 |  | 50 | 1 |  | 16 | 1 |  |  | 1 | [13 empty] | $
0011 | DEARBORN HALL | 1891 SW Campus Way | Corvallis | SILENT KNIGHT | 1 |  | 5 |  |  | 10 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | $ |  | $
0151 | DRYDEN HALL | 450 SW 30th Street | Corvallis | SILENT KNIGHT 5820 |  |  | 4 |  | 3 | 3 | 1 |  |  | 1 | [13 empty] | $
0078 | ENERGY CENTER | 3452 SW Jefferson Way | Corvallis | SIMPLEX 4010 | 1 | 1 | 12 | 1 | 3 | 6 |  |  |  | 1 | 1 |  |  |  |  | 1 | 4 | 2 | 1 | 2 |  |  |  | $ |  | $
3831 | ENVIRONMENTAL HEALTH & SAFETY | 190 SW 35th Street | Corvallis | EST 2 | 1 |  | 8 |  | 3 |  |  |  |  | 1 | 1 |  |  |  |  | 1 | 2 | 1 | 1 | 2 |  |  |  | $ |  | $
0087 | FAIRBANKS HALL | 220 SW 26th Street | Corvallis | FIRELITE |  |  | 12 | 3 |  | 5 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
0372 | FOUNDATION BUILDING | 850 SW 35th street |  | FIRELITE MS9200 | 1 |  | 12 |  | 1 | 11 |  |  |  | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 2 |  |  |  | $ | $ | $
| FOUNDATION BUILDING |  |  | KIDDE FM-200 |  |  | 2 |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 | [8 empty] | $
0280 | FURMAN HALL | 200 SW 15th Street | Corvallis | SIMPLEX 4100 | 1 |  | 27 | 1 | 21 | 1 | 1 |  |  | 1 | 1 |  |  |  |  | 6 | 6 | 4 | 1 | 1 |  |  |  | $ |  | $
1500 | GILBERT HALL | 2100 SW Monroe Way | Corvallis | ZANS |  | 1 | 5 | 1 |  | 17 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | $ |  | $
1501 | GILBERT HALL ADDITION | 2101 SW Campus Way | Corvallis | HONEYWELL W940 |  |  | 1 | 1 | 5 | 4 |  |  |  | 1 | 1 | 1 |  |  |  | 2 | 3 | 3 | 1 | 2 |  |  |  | $ | $ | $
0370 | GILKEY HALL | 122 SW Waldo Place | Corvallis | SILENT Knight |  |  | 4 |  |  | 7 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
1121 | GILL COLISEUM | 660 SW 26th Street | Corvallis | EST 3 | 1 | 4 | 30 | 53 | 1 | 14 | 1 |  |  | 1 | 1 |  |  |  |  | 2 | 4 | 2 | 1 | 1 |  |  |  | $ |  | $
0084 | GILMORE ANNEX | 2650 SW Campus Way | Corvallis | [6 empty] | 5 |  |  |  | 1 | [13 empty] | $
0084 | GILMORE HALL | 124 SW 26th Street | Corvallis | SILENT KNIGHT |  |  | 1 |  |  | 6 |  |  |  | 1 | 1 |  |  |  |  | 1 | 2 | 1 | 1 | 1 |  |  |  | $ |  | $
0033 | GLADYS VALLEY GYMNASTICS CENTER | 1701 SW Jefferson Ave | Corvallis | PYROTRONICS |  |  |  |  | 1 | 6 |  |  |  | 1 | 1 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | $ |  | $
0016 | GLEESON HALL | 2115 SW Campus Way | Corvallis | SILENT KNIGHT |  |  | 1 |  |  | 11 |  |  |  | 1 |  |  | 2 |  |  | 1 |  |  | 1 |  |  |  |  | $ |  | $
0104 | GOSS STADIUM | 430 SW Langton Place | Corvallis | SIMPLEX 4010 | 1 |  | 6 |  | 2 | 1 | 1 |  | 1 | 1 |  | 2 |  |  |  | 3 | 6 | 2 | 2 | 4 |  |  |  | $ | $
1006 | GRAF HALL | 1680 SW Monoe Ave | Corvallis | SIMPLEX 4010 |  |  | 2 | 1 |  | 5 |  |  |  | 1 | 1 | 1 |  |  |  | 3 | 5 | 5 | 1 | 2 |  |  |  | $ | $ | $
0334 | HALLIE FORD | 2361 SW Campus way | Corvallis | SIMPLEX 4100 | 1 |  | 16 |  | 3 | 1 | 1 |  |  | 1 | 1 |  |  |  |  | 5 | 3 | 3 |  | 2 |  |  |  | $ |  | $
0204 | HECKERT LODGE | 2900 SW Jefferson Way | Corvallis | SIMPLEX 4010 | 1 |  | 5 |  |  | 1 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 2 | 1 | 1 | 2 |  |  |  | $ |  | $
0137 | HINSDALE WAVE RESEARCH LAB | 3550 SW Jefferson Way | Corvallis | SIMPLEX 4010 | 1 |  | 6 |  |  | 1 | 1 |  |  | 1 |  | 2 |  |  |  | 2 | 2 | 2 | 1 | 2 |  |  |  | $ | $
| HORSE CENTER | 5501 NW Walnut Way | Corvallis | ZANS, STANDARD, SK |  | 2 |  | 10 |  | 8 |  |  |  | 2 |  | 1 |  |  |  | 1 |  | 1 | 1 |  |  |  |  | $ | $
0929 | HOVLAND | 2700 SW Campus Way | Corvallis | SILENT KNIGHT 5820 |  | 1 | 7 | 4 |  | 6 |  |  |  | 1 | [13 empty] | $
0364 | JAMES E. OIDFIELD | 3521 SW Campus Way | Corvallis | SILENT KNIGHT | 1 |  |  |  | 1 | 9 |  |  |  | 1 | 1 |  |  |  |  | 1 | 3 | 1 | 1 | 2 |  |  |  | $ |  | $
0089 | JEFFERSON | 3731 SW Jefferson Way |  | SIEMENS | 1 | 1 | 22 |  | 9 | 6 |  |  |  | 1 | 1 | 1 |  |  |  | 2 | 2 | 2 | 1 | 2 |  |  |  | $ | $ | $
0493 | JL FRYER AQUATIC ANIMAL HEALTH LAB | 34347 NE Electric Rd |  | ADEMCO VISTA-250 | 1 |  | 5 | 4 | 1 |  |  |  |  | 1 | [13 empty] | $
0008 | JOHNSON HALL | 105 SW 26th Street |  | SIMPLEX 4100 | 1 |  | 13 | 1 | 19 | 11 | 1 |  |  | 1 | 1 |  |  |  |  | 3 | 11 | 4 | 1 | 2 | 1 |  |  | $ |  | $
1000 | KEARNEY HALL | 1491 SW Campus Way | Corvallis | SIMPLEX 4010 | 1 | 1 | 7 | 3 | 4 | 4 | 1 |  |  | 1 | 1 |  |  |  |  | 4 | 10 | 4 | 1 | 2 |  |  |  | $ |  | $
0333 | KELLEY ENGINEERING CENTER | 110 SW Park Terrace | Corvallis | EST 3 | 1 | 8 | 457 | 30 | 13 | 32 | 1 | 1 | 1 | 1 | 1 |  |  | 1 |  | 9 | 17 | 12 | 1 | 2 |  |  | 2 | $ |  | $
0611 | KERR ADMINISTRATION BLDG | 1500 SW Jefferson Ave | Corvallis | SILENT KNIGHT 5820 | 1 | 2 | 14 | 5 |  | 24 | 1 |  |  | 1 | 1 |  |  |  |  | 2 | 2 | 1 | 1 | 2 |  |  |  | $ |  | $
| KERR B210 DATA ROOM | 1500 SW Jefferson Ave |  | FIKE CHEETAH XI |  |  | 42 | 2 |  | 2 |  |  |  | 1 |  |  |  |  | 1 | [8 empty] | $
0341 | KIDDER HALL | 2000 SW Campus Way | Corvallis | EST 2 | 1 |  | 22 |  |  | 17 | 1 |  |  | 1 | [13 empty] | $
0105 | LANGTON HALL | 2450 SW Jefferson Way | Corvallis | SILENT KNIGHT 5820 | 1 |  | 2 |  |  | 5 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | $ |  | $
0200 | LASELLS STEWART CENTER | 875 SW 26th Street | Corvallis | SIMPLEX 4100 |  |  | 23 | 4 | 8 | 17 |  |  |  | 1 | 1 |  |  |  |  | 2 | 2 | 2 | 1 | 2 |  |  |  | $ |  | $
0023 | LINC | 165 SW Sackett Place |  | SIMPLEX 4100 | 1 |  | 48 | 10 | 20 |  | 4 |  |  | 1 | 1 |  |  |  |  | 4 | 16 | 4 | 1 | 2 | 1 |  |  | $ |  | $
0071 | LINUS PAULING | 2900 SW Campus Way | Corvallis | EST QUICKSTART | 1 | 5 | 40 | 1 | 52 | 14 | 2 |  |  | 1 | 1 |  |  |  |  | 5 | 16 | 5 | 1 | 2 | 1 |  |  | $ |  | $
1531 | MAGRUDER HALL | 700 SW 30th Street | Corvallis | EST QUICKSTART | 3 | 3 | 147 |  | 16 | 32 |  |  |  | 1 | 1 | 1 | 1 |  |  | 5 | 7 | 5 | 1 | 3 |  |  |  | $ | $ | $
0053 | McALEXANDER (TIED TO FIELD HOUSE) | 1800 SW Jefferson Way | Corvallis | ZANS | 1 |  |  |  |  | 7 |  |  |  | 1 | [13 empty] | $
0153 | McALEXANDER FIELD HOUSE | 1800 SW Jefferson Way | Corvallis | GE I/O |  | 2 | 1 |  |  | 6 |  |  |  | 1 | 1 |  |  |  |  | 1 | 3 | 1 | 1 | 2 |  |  |  | $ |  | $
0142 | MERRIT TRUAX INDOOR PRACTICE CTR | 661 SW 30th Street | Corvallis | EST 2 |  | 1 | 1 |  | 5 | 5 |  |  | 1 | 1 | 1 |  |  |  |  | 2 | 4 | 2 | 1 | 2 |  |  |  | $ |  | $
1002 | MERRYFIELD HALL | 1600 SW Monroe Ave | Corvallis | SILENT KNIGHT 5820 |  |  | 1 |  |  | 9 |  |  |  | 1 | [13 empty] | $
0810 | MILAM HALL | 2520 SW Campus Way | Corvallis | SILENT KNIGHT 5820 |  |  | 6 |  | 1 | 24 |  |  |  | 1 | 1 |  |  |  |  | 8 | 9 | 8 | 1 | 1 |  |  |  | $ |  | $
0203 | MILNE COMPUTER CENTER | 1800 SW Campus Way | Corvallis | SIMPLEX 4020 | 1 |  | 17 |  |  | 6 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | $ |  | $
| MILNE COMPUTER CENTER DATA ROOM | 1800 SW Campus Way |  | POTTER PFC-4410RC | [9 empty] | 1 |  |  |  | 1 |  |  | 1 | 1 |  |  |  |  | 1 | $
0106 | MORELAND HALL | 2550 SW Jefferson Way | Corvallis | SILENT KNIGHT 5820 |  |  | 10 |  |  | 3 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
0021 | NASH HALL | 2820 SW Campus Way | Corvallis | EST QUICKSTART | 1 | 1 |  |  | 116 | 1 |  |  |  | 1 | 1 |  |  |  |  | 7 | 9 | 7 | 1 | 2 |  |  |  | $ |  | $
0117 | NAVY ROTC ARMORY | 2201 SW Washington Way | Corvallis | SILENT KNIGHT |  |  | 4 |  |  | 5 |  |  |  | 1 | [13 empty] | $
Non Reporting | OAK CREEK BUILDING | 3015 SW Western Blvd | Corvallis | STANDARD | [5 empty] | 5 |  |  |  | 1 | 3 |  |  |  |  | 3 |  | 3 | 1 | 2 |  |  |  | $
0228 | OCEAN OBSERVATION | 126 SW McKenzie Ave | Corvallis | SILENT KNIGHT 5820 |  |  | 1 |  |  | 3 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 2 |  |  |  | $ |  | $
0022 | OWEN HALL | 1501 SW Campus Way | Corvallis | SIMPLEX 2001 |  |  | 40 | 5 | 9 | 10 | 1 |  |  | 1 | 1 |  | 1 |  |  | 5 | 8 | 5 | 1 | 2 |  |  |  | $ |  | $
Non Reporting | PAINT SHOP | 560 SW 15TH ST. | Corvallis | [11 empty] | 1 |  |  |  |  | 1 |  | 1 | [5 empty] | $ |  | $
0205 | PARKING STRUCTURE | 661 SW 26th Street | Corvallis | EST QUICKSTART |  | 4 | 4 | 5 |  | 10 | 1 |  |  | 1 | [8 empty] | 1 |  |  |  |  | $
0366 | PRECISION AGRICULTURAL SYSTEMS | 3531 SW CAMPUS WAY |  | SIMPLEX 4010ES |  |  | 1 | 17 |  | 5 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 2 |  |  |  | $ |  | $
| PASC DATA CENTER | 3531 SW CAMPUS WAY |  | SIMPLEX 4100ES |  |  | 8 |  | 3 | 2 |  |  |  | 1 |  |  |  | 1 |  |  | 1 | 1 | [5 empty] | $
0030 | PHARMACY | 1601 SW Jefferson Ave. | Corvallis | SILENT KNIGHT 5820 |  |  | 3 |  |  | 12 |  |  |  | 1 | [13 empty] | $
0062 | PLAGEMAN STUDENT HEALTH CENTER | 108 SW Memorial Place | Corvallis | FCI 7200 | 1 | 1 | 4 | 1 |  | 9 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
0981 | RADIATION CENTER | 3451 SW Jefferson Way | Corvallis | EST 1303,ZANS,FIRELITE |  |  | 4 | 125 |  | 16 |  |  |  | 1 | [13 empty] | $
0118 | REED LODGE | 2950 SW Jefferson Way | Corvallis | SIMPLEX 4010 | 1 |  | 7 |  | 1 | 1 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 2 | 1 | 1 | 2 |  |  |  | $ |  | $
0519 | RESEARCH WAY BUILDING | 4700 SW Research Way | Corvallis | SIMPLEX |  | 1 | 8 |  |  | 15 | 2 |  |  | 1 | 1 | 1 |  |  |  | 2 | 5 | 3 | 1 | 2 | 1 |  | 4 | $ | $ | $
0520 | RESEARCH WAY LABORATORY | 4575 SW Research Way |  | EVAX EF1 | 1 | 5 | 286 | 33 | 14 | 19 | 1 |  |  | 1 | 1 |  | 1 |  | 1 | 1 | 1 | 1 | 1 | 2 |  |  |  | $ |  | $
1235 | RESER STADIUM EAST | 700 SW 26th Street | Corvallis | SIEMENS 7400 | 8 | 8 | 51 |  | 38 | 42 | 3 | 1 | 1 | 1 | 1 | 6 |  |  |  | 20 | 33 | 20 | 2 | 4 | 1 |  | 2 | $ | $ | $
1232 | RESER STADIUM WEST | 700 SW 26th Street | Corvallis | SILENT KNIGHT | [9 empty] | 1 |  | 2 |  |  |  | 2 | 2 | 2 | 1 | 2 |  |  |  | $ | $
0148 | RICHARDSON HALL | 3180 SW Jefferson Way | Corvallis | FCI 7200 | 1 | 6 | 131 | 12 | 25 | 49 | 2 |  |  | 1 | 2 | 1 |  |  |  | 10 | 11 | 10 | 2 | 4 |  |  |  | $ | $ | $
0019 | ROGERS HALL | 2000 SW Monroe Ave | Corvallis | SILENT KNIGHT | [5 empty] | 10 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | $ |  | $
0014 | SHEPARD HALL | 2001 SW Campus Way | Corvallis | SILENT KNIGHT | [5 empty] | 3 |  |  |  | 1 | 1 |  |  |  |  | 1 | 2 | 1 | 1 |  |  |  |  | $ |  | $
0010 | SNELL HALL/ MU EAST | 2150 SW Jefferson Way | Corvallis | SIMPLEX 4010 | 1 |  | 1 |  |  | 33 |  |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
0126 | SPORTS PERFORMANCE CENTER | 2737 SW Ralph Miller Lane | Corvallis | SIMPLEX 4010 | 1 |  | 3 |  | 1 | 6 | 1 |  | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
3800 | STRAND AGRICULTURE HALL | 170 SW Waldo Place | Corvallis | SIMPLEX 4100 | 1 |  | 33 | 5 | 1 | 1 |  |  |  | 1 | 1 | 3 |  |  |  | 1 | 12 | 6 | 1 | 2 |  |  |  | $ | $ | $
2012 | UNIVERSITY PLAZA | 1600 SW Western Blvd |  | NOTIFIER 400 | 1 | 3 | 115 | 14 | 11 | 23 | 1 |  | 1 | 1 | 1 |  |  |  |  | 3 | 2 | 3 | 1 | 2 |  |  |  | $ |  | $
4300 | VALLEY FOOTBALL CENTER | 725 SW 30th Street | Corvallis | SIMPLEX 4100 | 1 |  | 36 | 12 | 17 | 9 | 4 |  | 1 | 1 | 1 | 1 |  |  |  | 4 | 6 | 4 | 1 | 2 |  |  |  | $ | $ | $
2417 | VALLEY LIBRARY | 201 SW Waldo Place | Corvallis | SIMPLEX 4020 | 1 | 6 | 183 | 46 | 53 | 30 | 2 |  |  | 1 | 1 | 1 |  |  |  | 6 | 19 | 6 | 1 | 2 |  |  |  | $ | $ | $
Non Reporting | VET RESEARCH LAB | 3101 SW Washington Way | Corvallis | EDWARDS | [5 empty] | 3 |  |  |  | 1 | [13 empty] | $
1021 | WALDO HALL | 2250 SW Jefferson Way | Corvallis | GE IO | 1 | 4 | 6 |  | 1 |  | 1 |  |  | 1 | 2 | 1 |  |  |  | 9 | 9 | 9 | 1 | 1 |  |  |  | $ | $ | $
0017 | WENIGER HALL | 103 SW Memorial Place | Corvallis | SIMPLEX 4010 |  | 2 | 8 | 1 | 3 | 24 |  |  |  | 1 | [13 empty] | $
0081 | WIEGAND HALL | 3051 SW Campus Way | Corvallis | SILENT KNIGHT |  |  | 4 |  |  | 6 | 1 |  |  | 1 | [13 empty] | $
0710 | WILKINSON HALL/ GILFILLAN AUDITOR. | 2601 SW Orchard Ave | Corvallis | STANDARD |  |  |  | 6 |  | 14 |  |  |  | 1 | 1 |  |  |  |  | 1 | 2 | 1 | [5 empty] | $ |  | $
0753 | WITHYCOMBE HALL | 2921 SW Campus Way | Corvallis | EST QUICKSTART | 1 |  | 9 |  |  | 7 | 2 |  |  | 1 | 1 |  | 1 |  |  | 4 | 4 | 4 | 1 | 1 |  |  |  | $ |  | $
0086 | WOMEN'S BUILDING | 160 SW 26th Street | Corvallis | SILENT KNIGHT 5820 | 1 |  | 11 |  |  | 3 | 1 |  |  | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  |  |  |  | $ |  | $
[28 empty] | $ |  | $
[28 empty] | $ |  | $
[28 empty] | $ |  | $
|  |  |  | TOTALS | 61 | 77 | 2374 | 485 | 607 | 928 | 64 | 2 | 9 | 96 | 72 | 28 | 8 |  |  | 202 | 347 | 215 | 74 | 110 | 6 | 2 | 9 | $ | $ | $