There will be references to documents with the designation:

OSU-SOFIE-219XXX-DWG-001. This section will be outside the scope of work for the mechanical RFP. It is visible from the .pdfs detailing piping and the loop (OSU-SOFIE-000000-DWG-002, and OSU-SOFIE-200000-DWG-001). This region is referred to as the “test section”. The test section extends from the lower test connector to the upper test connector. Instead of ignoring the test section components, the test section should be replaced by a pipe and two elbows or a single segment of pipe to allow a continuous flow path for this RFP.