## Termination Table
DAS Chassis 1 - NI cRIO-9047 - Main Panel
Slot | Function | Model | SN | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | AI (4-20 mA) | 9208 |  | PIT-001 | LT-001 | PIT-101 | DP-101 | FT-101 | FT-120 | FT-121 | PIT-130 | PIT-160 | PIT-180 | DP-180 | PIT-200 | LT-200 | FE-220 | LDP-300 | PIT-320
2 | AI (4-20 mA) | 9208 |  | PIT-321 | PIT-322 | PIT-323 | PIT-324 | PIT-900 | LT-900 | FCV-120X | FCV-121X | FCV-170X | FCV-210X | FCV-220X | KW-401 | KW-402 | KW-403 | KW-404 | VFD-210 RPM
3 | AI (4-20 mA) | 9208 |  | VFD-220 RPM | VFD-700 RPM | VFD-701 RPM | VFD-350 RPM | - | - | - | - | - | - | - | - | - | - | - | -
4 | AO (4-20 mA) | 9266 |  | FCV-120 | FCV-121 | FCV-170 | FCV-210 | VFD-210 | FCV-220 | VFD-220 | SCR-220
5 | AO (4-20 mA) | 9266 |  | PRV-321 | PRV-322 | PRV-323 | PRV-324 | PRV-325 | VFD-350 | VFD-700 | SCR-700
6 | AO (4-20 mA) | 9266 |  | DA-700 | VFD-740 | VFD-770 | VFD-900 | SCR-401 | SCR-402 | SCR-403 | SCR-404
7 | AO (4-20 mA) | 9266 |  | SCR-211 | SCR-221 | DA-401 | DA-402 | - | - | - | -
8 | DI (24VDC) | 9375 |  | VFD-210 RUN | VFD-220 RUN | LSL-300 | LSH-300 | VFD-350 RUN | SCR-401 RUN | SCR-402 RUN | SCR-403 RUN | SCR-404 RUN | VFD-700 RUN | VFD-770 RUN | VFD-900 RUN | VV-001 XS | VV-001 XO | DV-002 XS | DV-002 XO | HV-003 XS | HV-003 XO | HV-004 XS | HV-004 XO | IV-130 XS | IV-130 XO | IV-160 XS | IV-160 XO | VV-200 XS | VV-200 XO | DV-201 XS | DV-201 XO | LCV-202 XS | LCV-202 XO | IV-204 XS | IV-204 XO
DAS Chassis 2 - NI 9145 EtherCAT - Main Panel
Slot | Function | Model | SN | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | DI (24VDC) | 9375 |  | HV-205 XS | HV-205 XO | IV-230 XS | IV-230 XO | IV-231 XS | IV-231 XO | DV-252 XS | DV-252 XO | VV-261 XO | VV-262 XS | VV-262 XO | HV-300 XS | HV-300 XO | VV-300 XS | VV-300 XO | IV-320 XS | IV-320 XO | IV-321 XS | IV-321 XO | IV-322 XS | IV-322 XO | IV-323-XS | IV-323 XO | IV-324 XS | IV-324 XO | IV-325 XS | IV-325 XO | IV-326 XS | IV-326 XO | IV-327 XS | IV-327 XO | IV-328 XS
2 | DO (24VDC) | 9375 |  | IV-328 XO | IV-329 XS | IV-329 XO | VV-900 XS | VV-900 XO | DV-901 XS | DV-901 XO | HV-903 XS | HV-903 XO | HV-904 XS | HV-904 XO | DV-991 XS | DV-991 XO | VFD-210 RE | VFD-220 RE | VFD-700 RE | VFD-770 RE | VFD-350 RE | VFD-900 RE | SCR-401 RE | SCR-402 RE | SCR-403 RE | SCR-404 RE | - | - | - | - | - | - | - | - | -
3 | SSR (24VDC) | 9485 |  | SV-001 | SV-002 | SV-130 | SV-160 | SV-200 | SV-201 | SV-202 | SV-204
4 | SSR (24VDC) | 9485 |  | SV-230 | SV-231 | SV-252 | SV-261 | SV-262 | SV-300 | SV-321 | SV-322
5 | SSR (24VDC) | 9485 |  | SV-323 | SV-324 | SV-325 | SV-326 | SV-327 | SV-328 | SV-329 | SV-350
6 | SSR (24VDC) | 9485 |  | SV-900 | SV-901 | SV-991 | C-171 | C-210 | C-211 | C-220 | C-221
7 | SSR (24VDC) | 9485 |  | C-401 | C-402 | C-403 | C-700 | C-770 |  | - | -
8 | TC | 9213 |  | TF-001 A | TF-001 B | TF-001 C | TF-001 D | TF-100 A | TF-100 B | TF-100 C | TF-101 A | TF-101 B | TF-101 C | TS-120 | TS-121 | TS-130 | TF-130 A | TF-130 B | TF-130 C
DAS Chassis 3 - NI 9145 EtherCAT - Main Panel
Slot | Function | Model | SN | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | TC | 9213 |  | TF-140 A | TF-140 B | TF-140C | TS-160 | TF-160 A | TF-160 B | TF-160 C | TS-170 | TF-180 A | TF-180 B | TF-180 C | TF-181 A | TF-181 B | TF-181 C | TF-200 A | TF-200 B
2 | TC | 9213 |  | TF-200 C | TF-200 D | TF-210 A | TF-210 B | TF-210 C | TF-210 D | TF-211 | TF-700 | TF-701 | TF-900 A | TF-900 B | TF-001 | - | - | - | -
3 | TC | 9213 | [9 empty] | - | - | - | - | - | - | - | - | bar: SV-323 to SV-350
4 | TC | 9213 | [9 empty] | - | - | - | - | - | - | - | - | bar: SV-323 to SV-350
5 | -SPARE-
6 | -SPARE-
7 | -SPARE-
8 | -SPARE-
DAS Chassis 4 - NI 9145 EtherCAT - Test Section Panel
Slot | Function | Model | SN | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
0 | AI (4-20 mA) | 9208 |  | LT-400 | PIT-402 | DP-402 | DP-403 | DP-404 | DP-405 | DP-406 | PIT-406 | - | - | - | - | - | - | - | -
1 | DI (24VDC) | 9375 |  | LSH-400 | LSL-400 | LSH-401 | LSH-401 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2 | TC | 9213 |  | TF-401 A | TF-401 B | TF-401 C | TF-401 D | TF-401 E | TF-401 F | TF-401 G | TF-401 H | TF-402 A | TF-402 B | TF-402 C | TF-403 A | TF-403 B | TF-403 C | TF-404 A | TF-404 B
3 | TC | 9213 |  | TF-404 C | TF-405 A | TF-405 B | TF-405 C | TF-406 A | TF-406 B | TF-406 C | TF-407 A | TF-407 B | TF-407 C | TF-408 A | TF-408 B | TF-408 C | TF-408 D | TF-408 E | TF-408 F
4 | TC | 9213 |  | TF-408 G | TF-408 H | TF-400 | - | - | - | - | - | - | - | - | - | - | - | - | -
5 | TC | 9213 | [9 empty] | - | - | - | - | - | - | - | - | bar: SV-323 to SV-350
6 | TC | 9213 | [9 empty] | - | - | - | - | - | - | - | - | bar: SV-323 to SV-350
7 | -SPARE-

## Termination Schedule
Instrument | [7 empty] | DAS Module
Tag # | Description | ENGR Range | ENGR Unit | RAW Range | Raw Unit | Manufacturer | Model | Chassis | Slot | Channel | Function | Address | Model | Panel | Terminal Strip | Row
PIT-001 | Storage Tank Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 1 | 0 | AI | 10100-AI | 9208 | Main
LT-001 | Storage Tank Level |  | inches | 4-20 | mA | ? |  | 1 | 1 | 1 | AI | 10101-AI | 9208 | Main
PIT-101 | MCP-101 Discharge Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 1 | 2 | AI | 10102-AI | 9208 | Main
DP-101 | MCP-101 Differential Pressure |  | psid | 4-20 | mA | Rosemount | 3051C… | 1 | 1 | 3 | AI | 10103-AI | 9208 | Main
FT-101 | MCP-101 Net Flow Rate |  | gpm | 4-20 | mA | ? |  | 1 | 1 | 4 | AI | 10104-AI | 9208 | Main
FT-120 | Test Section Flow 1 |  | gpm | 4-20 | mA | Krohne | Optisonic 6000 | 1 | 1 | 5 | AI | 10105-AI | 9208 | Main
FT-121 | Test Section Flow 2 |  | gpm | 4-20 | mA | Krone | Optisonic 6000 | 1 | 1 | 6 | AI | 10106-AI | 9208 | Main
PIT-130 | Test Section Inlet Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 1 | 7 | AI | 10107-AI | 9208 | Main
PIT-160 | Test Section Outlet Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 1 | 8 | AI | 10108-AI | 9208 | Main
PIT-180 | HX-700 Inlet Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 1 | 9 | AI | 10109-AI | 9208 | Main
DP-180 | HX-700 Differential Pressure |  | psid | 4-20 | mA | Rosemount | 3051C… | 1 | 1 | 10 | AI | 10110-AI | 9208 | Main
PIT-200 | Day Tank Pressure |  | pisg | 4-20 | mA | Rosemount | 3051T… | 1 | 1 | 11 | AI | 10111-AI | 9208 | Main
LT-200 | Day Tank Level |  | inches | 4-20 | mA | ? |  | 1 | 1 | 12 | AI | 10112-AI | 9208 | Main
FE-220 | Plugging Meter Flow Rate |  | gpm | 4-20 | mA | ? |  | 1 | 1 | 13 | AI | 10113-AI | 9208 | Main
LDP-300 | Accumulator Level |  | inches Na | 4-20 | mA | Rosemount | 3051C… | 1 | 1 | 14 | AI | 10114-AI | 9208 | Main
PIT-320 | Storage Tank Gas Feed Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 1 | 15 | AI | 10115-AI | 9208 | Main
PIT-321 | Day Tank Gas Feed Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 2 | 0 | AI | 10200-AI | 9208 | Main
PIT-322 | Vapor Separator Gas Feed Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 2 | 1 | AI | 10201-AI | 9208 | Main
PIT-323 | Acumulator Gas Feed Presure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 2 | 2 | AI | 10202-AI | 9208 | Main
PIT-324 | Waste Tank Gas Feed Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 2 | 3 | AI | 10203-AI | 9208 | Main
PIT-900 | Waste Tank Pressure |  | psig | 4-20 | mA | Rosemount | 3051T… | 1 | 2 | 4 | AI | 10204-AI | 9208 | Main
LT-900 | Waste Tank Level |  | inches | 4-20 | mA | ? |  | 1 | 2 | 5 | AI | 10205-AI | 9208 | Main
FCV-120X | FCV-120 Position Feedback |  | % | 4-20 | mA | Logix | 3821 | 1 | 2 | 6 | AI | 10206-AI | 9208 | Main
FCV-121X | FCV-121 Position Feedback |  | % | 4-20 | mA | Logix | 3821 | 1 | 2 | 7 | AI | 10207-AI | 9208 | Main
FCV-170X | FCV-120 Position Feedback |  | % | 4-20 | mA | Logix | 3821 | 1 | 2 | 8 | AI | 10208-AI | 9208 | Main
FCV-210X | FCV-210 Position Feedback |  | % | 4-20 | mA | Logix | 3821 | 1 | 2 | 9 | AI | 10209-AI | 9208 | Main
FCV-220X | FCV-220 Position Feedback |  | % | 4-20 | mA | Logix | 3821 | 1 | 2 | 10 | AI | 10210-AI | 9208 | Main
KW-401 | Core Heater Bank 1 Power |  | kW | 4-20 | mA | Ohio Semitronics | DW5… | 1 | 2 | 11 | AI | 10211-AI | 9208 | Main
KW-402 | Core Heater Bank 2 Power |  | kW | 4-20 | mA | Ohio Semitronics | DW5… | 1 | 2 | 12 | AI | 10212-AI | 9208 | Main
KW-403 | Core Heater Bank 3 Power |  | kW | 4-20 | mA | Ohio Semitronics | DW5… | 1 | 2 | 13 | AI | 10213-AI | 9208 | Main
KW-404 | Core Heater Bank 4 Power |  | kW | 4-20 | mA | Ohio Semitronics | DW5… | 1 | 2 | 14 | AI | 10214-AI | 9208 | Main
VFD-210 RPM | VFD-210 Speed Feedback |  |  | 4-20 | mA |  |  | 1 | 2 | 15 | AI | 10215-AI | 9208 | Main
VFD-220 RPM | VFD-220 Speed Feedback |  |  | 4-20 | mA |  |  | 1 | 3 | 0 | AI | 10300-AI | 9208 | Main
VFD-700 RPM | VFD-700 Speed Feedback |  |  | 4-20 | mA |  |  | 1 | 3 | 1 | AI | 10301-AI | 9208 | Main
VFD-701 RPM | VFD-701 Speed Feedback |  |  | 4-20 | mA |  |  | 1 | 3 | 2 | AI | 10302-AI | 9208 | Main
VFD-350 RPM | VFD-350 Speed Feedback |  |  | 4-20 | mA |  |  | 1 | 3 | 3 | AI | 10303-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 4 | AI | 10304-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 5 | AI | 10305-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 6 | AI | 10306-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 7 | AI | 10307-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 8 | AI | 10308-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 9 | AI | 10309-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 10 | AI | 10310-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 11 | AI | 10311-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 12 | AI | 10312-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 13 | AI | 10313-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 14 | AI | 10314-AI | 9208 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 3 | 15 | AI | 10315-AI | 9208 | Main
FCV-120 | Test Section Flow Control Valve - High Flow |  | % | 4-20 | mA | Flowserve | Logix 3821 | 1 | 4 | 0 | AO | 10400-AO | 9266 | Main
FCV-121 | Test Section Flow Control Valve - Low Flow |  | % | 4-20 | mA | Flowserve | Logix 3821 | 1 | 4 | 1 | AO | 10401-AO | 9266 | Main
FCV-170 | Bypass Flow Control Valve Position |  | % | 4-20 | mA | Flowserve | Logix 3821 | 1 | 4 | 2 | AO | 10402-AO | 9266 | Main
FCV-210 | Cold Trap Flow Control Valve Position |  | % | 4-20 | mA | Flowserve | Logix 3821 | 1 | 4 | 3 | AO | 10403-AO | 9266 | Main
VFD-210 | Cold Trap Fan Speed |  | RPM | 4-20 | mA | ABB |  | 1 | 4 | 4 | AO | 10404-AO | 9266 | Main
FCV-220 | Plugging Meter Flow Control Valve Position |  | % | 4-20 | mA | Flowserve | Logix 3821 | 1 | 4 | 5 | AO | 10405-AO | 9266 | Main
VFD-220 | Plugging Meter Fan Speed |  | RPM | 4-20 | mA | ABB |  | 1 | 4 | 6 | AO | 10406-AO | 9266 | Main
SCR-220 | Plugging Meter Heater Power |  | % | 4-20 | mA | Watlow |  | 1 | 4 | 7 | AO | 10407-AO | 9266 | Main
PRV-321 | Storage Tank Gas Feed Pressure Control |  | psi | 4-20 | mA |  |  | 1 | 5 | 0 | AO | 10500-AO | 9266 | Main
PRV-322 | Day Tank Gas Feed Pressure Control |  | psi | 4-20 | mA |  |  | 1 | 5 | 1 | AO | 10501-AO | 9266 | Main
PRV-323 | Vapor Separator Gas Feed Pressure Control |  | psi | 4-20 | mA |  |  | 1 | 5 | 2 | AO | 10502-AO | 9266 | Main
PRV-324 | Accumulator Gas Feed Pressure Control |  | psi | 4-20 | mA |  |  | 1 | 5 | 3 | AO | 10503-AO | 9266 | Main
PRV-325 | Waste Tank Gas Feed Pressure Control |  | psi | 4-20 | mA |  |  | 1 | 5 | 4 | AO | 10504-AO | 9266 | Main
VFD-350 | Vacuum Pump Speed |  | RPM | 4-20 | mA | ABB |  | 1 | 5 | 5 | AO | 10505-AO | 9266 | Main
VFD-700 | HX-700 Fan Speed |  | RPM | 4-20 | mA | ABB |  | 1 | 5 | 6 | AO | 10506-AO | 9266 | Main
SCR-700 | HX-700 Heater Power |  | % | 4-20 | mA | Watlow |  | 1 | 5 | 7 | AO | 10507-AO | 9266 | Main
DA-700 | HX-700 Damper Actuator |  | % | 4-20 | mA |  |  | 1 | 6 | 0 | AO | 10600-AO | 9266 | Main
VFD-740 | Test Section Confinement Fan Speed |  | RPM | 4-20 | mA | ABB |  | 1 | 6 | 1 | AO | 10601-AO | 9266 | Main
VFD-770 | Main Confinement Fan Speed |  | RPM | 4-20 | mA | ABB |  | 1 | 6 | 2 | AO | 10602-AO | 9266 | Main
VFD-900 | Waste Tank Mixer Speed |  | RPM | 4-20 | mA | ABB |  | 1 | 6 | 3 | AO | 10603-AO | 9266 | Main
SCR-401 | Core Heater Bank 1 Power Control |  | kW | 4-20 | mA | ABB | DCT880 | 1 | 6 | 4 | AO | 10604-AO | 9266 | Main
SCR-402 | Core Heater Bank 2 Power Control |  | kW | 4-20 | mA | ABB | DCT880 | 1 | 6 | 5 | AO | 10605-AO | 9266 | Main
SCR-403 | Core Heater Bank 3 Power Control |  | kW | 4-20 | mA | ABB | DCT880 | 1 | 6 | 6 | AO | 10606-AO | 9266 | Main
SCR-404 | Core Heater Bank 4 Power Control |  | kW | 4-20 | mA | ABB | DCT880 | 1 | 6 | 7 | AO | 10607-AO | 9266 | Main
SCR-211 | Cold Trap Heater Power Control |  | kW | 4-20 | mA |  |  | 1 | 7 | 0 | AO | 10700-AO | 9266 | Main
SCR-221 | Plugging Meter Heat Power Control |  | kW | 4-20 | mA |  |  | 1 | 7 | 1 | AO | 10701-AO | 9266 | Main
DA-401 | Test section lower cooling damper |  | % | 4-20 | mA |  |  | 1 | 7 | 2 | AO | 10702-AO | 9266 | Main
DA-402 | Test section upper cooling damper |  | % | 4-20 | mA |  |  | 1 | 7 | 3 | AO | 10703-AO | 9266 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 7 | 4 | AO | 10704-AO | 9266 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 7 | 5 | AO | 10705-AO | 9266 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 7 | 6 | AO | 10706-AO | 9266 | Main
-SPARE- |  |  |  | 4-20 | mA |  |  | 1 | 7 | 7 | AO | 10707-AO | 9266 | Main
VFD-210 RUN | VFD-210 Run Feedback | - | - | 24 | VDC |  |  | 1 | 8 | 0 | DI | 10800-DI | 9375 | Main
VFD-220 RUN | VFD-220 Run Feedback | - | - | 24 | VDC |  |  | 1 | 8 | 1 | DI | 10801-DI | 9375 | Main
LSL-300 | Accumulator Low Level Switch | - | - | 24 | VDC |  |  | 1 | 8 | 2 | DI | 10802-DI | 9375 | Main
LSH-300 | Accumulator High Level Switch | - | - | 24 | VDC |  |  | 1 | 8 | 3 | DI | 10803-DI | 9375 | Main
VFD-350 RUN | VFD-350 Run Feedback | - | - | 24 | VDC |  |  | 1 | 8 | 4 | DI | 10804-DI | 9375 | Main
SCR-401 RUN |  | - | - | 24 | VDC | ABB | DCT880 | 1 | 8 | 5 | DI | 10805-DI | 9375 | Main
SCR-402 RUN |  | - | - | 24 | VDC | ABB | DCT880 | 1 | 8 | 6 | DI | 10806-DI | 9375 | Main
SCR-403 RUN |  | - | - | 24 | VDC | ABB | DCT880 | 1 | 8 | 7 | DI | 10807-DI | 9375 | Main
SCR-404 RUN |  | - | - | 24 | VDC | ABB | DCT880 | 1 | 8 | 8 | DI | 10808-DI | 9375 | Main
VFD-700 RUN | VFD-700 Run Feedback | - | - | 24 | VDC |  |  | 1 | 8 | 9 | DI | 10809-DI | 9375 | Main
VFD-770 RUN | VFD-770 Run Feedback | - | - | 24 | VDC |  |  | 1 | 8 | 10 | DI | 10810-DI | 9375 | Main
VFD-900 RUN | VFD-900 Run Feedback | - | - | 24 | VDC |  |  | 1 | 8 | 11 | DI | 10811-DI | 9375 | Main
VV-001 XS | VV-001 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 12 | DI | 10812-DI | 9375 | Main
VV-001 XO | VV-001 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 13 | DI | 10813-DI | 9375 | Main
DV-002 XS | DV-002 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 14 | DI | 10814-DI | 9375 | Main
DV-002 XO | DV-002 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 15 | DI | 10815-DI | 9375 | Main
HV-003 XS | HV-003 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 16 | DI | 10816-DI | 9375 | Main
HV-003 XO | HV-003 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 17 | DI | 10817-DI | 9375 | Main
HV-004 XS | HV-004 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 18 | DI | 10818-DI | 9375 | Main
HV-004 XO | HV-004 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 19 | DI | 10819-DI | 9375 | Main
IV-130 XS | IV-130 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 20 | DI | 10820-DI | 9375 | Main
IV-130 XO | IV-130 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 21 | DI | 10821-DI | 9375 | Main
IV-160 XS | IV-160 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 22 | DI | 10822-DI | 9375 | Main
IV-160 XO | IV-160 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 23 | DI | 10823-DI | 9375 | Main
VV-200 XS | VV-200 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 24 | DI | 10824-DI | 9375 | Main
VV-200 XO | VV-200 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 25 | DI | 10825-DI | 9375 | Main
DV-201 XS | DV-201 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 26 | DI | 10826-DI | 9375 | Main
DV-201 XO | DV-201 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 27 | DI | 10827-DI | 9375 | Main
LCV-202 XS | LCV-202 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 28 | DI | 10828-DI | 9375 | Main
LCV-202 XO | LCV-202 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 29 | DI | 10829-DI | 9375 | Main
IV-204 XS | IV-204 Position Switch Closed | - | - | 24 | VDC |  |  | 1 | 8 | 30 | DI | 10830-DI | 9375 | Main
IV-204 XO | IV-204 Position Switch Open | - | - | 24 | VDC |  |  | 1 | 8 | 31 | DI | 10831-DI | 9375 | Main
HV-205 XS | HV-204 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 1 | 0 | DI | 20100-DI | 9375 | Main
HV-205 XO | HV-204 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 1 | DI | 20101-DI | 9375 | Main
IV-230 XS | IV-230 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 1 | 2 | DI | 20102-DI | 9375 | Main
IV-230 XO | IV-230 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 3 | DI | 20103-DI | 9375 | Main
IV-231 XS | IV-231 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 1 | 4 | DI | 20104-DI | 9375 | Main
IV-231 XO | IV-231 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 5 | DI | 20105-DI | 9375 | Main
DV-252 XS | DV-252 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 1 | 6 | DI | 20106-DI | 9375 | Main
DV-252 XO | DV-252 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 7 | DI | 20107-DI | 9375 | Main
VV-261 XO | VV-261 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 8 | DI | 20108-DI | 9375 | Main
VV-262 XS | VV-262 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 1 | 9 | DI | 20109-DI | 9375 | Main
VV-262 XO | VV-262 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 10 | DI | 20110-DI | 9375 | Main
HV-300 XS | HV-300 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 1 | 11 | DI | 20111-DI | 9375 | Main
HV-300 XO | HV-300 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 12 | DI | 20112-DI | 9375 | Main
VV-300 XS | VV-300 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 1 | 13 | DI | 20113-DI | 9375 | Main
VV-300 XO | VV-300 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 1 | 14 | DI | 20114-DI | 9375 | Main
IV-320 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 15 | DI | 20115-DI | 9375 | Main
IV-320 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 16 | DI | 20116-DI | 9375 | Main
IV-321 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 17 | DI | 20117-DI | 9375 | Main
IV-321 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 18 | DI | 20118-DI | 9375 | Main
IV-322 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 19 | DI | 20119-DI | 9375 | Main
IV-322 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 20 | DI | 20120-DI | 9375 | Main
IV-323-XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 21 | DI | 20121-DI | 9375 | Main
IV-323 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 22 | DI | 20122-DI | 9375 | Main
IV-324 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 23 | DI | 20123-DI | 9375 | Main
IV-324 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 24 | DI | 20124-DI | 9375 | Main
IV-325 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 25 | DI | 20125-DI | 9375 | Main
IV-325 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 26 | DI | 20126-DI | 9375 | Main
IV-326 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 27 | DI | 20127-DI | 9375 | Main
IV-326 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 28 | DI | 20128-DI | 9375 | Main
IV-327 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 29 | DI | 20129-DI | 9375 | Main
IV-327 XO |  | - | - | 24 | VDC |  |  | 2 | 1 | 30 | DI | 20130-DI | 9375 | Main
IV-328 XS |  | - | - | 24 | VDC |  |  | 2 | 1 | 31 | DI | 20131-DI | 9375 | Main
IV-328 XO |  | - | - | 24 | VDC |  |  | 2 | 2 | 0 | DO | 20200-DO | 9375 | Main
IV-329 XS |  | - | - | 24 | VDC |  |  | 2 | 2 | 1 | DO | 20201-DO | 9375 | Main
IV-329 XO |  | - | - | 24 | VDC |  |  | 2 | 2 | 2 | DO | 20202-DO | 9375 | Main
VV-900 XS | VV-900 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 2 | 3 | DO | 20203-DO | 9375 | Main
VV-900 XO | VV-900 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 2 | 4 | DO | 20204-DO | 9375 | Main
DV-901 XS | DV-901 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 2 | 5 | DO | 20205-DO | 9375 | Main
DV-901 XO | DV-901 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 2 | 6 | DO | 20206-DO | 9375 | Main
HV-903 XS | HV-903 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 2 | 7 | DO | 20207-DO | 9375 | Main
HV-903 XO | HV-903 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 2 | 8 | DO | 20208-DO | 9375 | Main
HV-904 XS | HV-904 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 2 | 9 | DO | 20209-DO | 9375 | Main
HV-904 XO | HV-904 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 2 | 10 | DO | 20210-DO | 9375 | Main
DV-991 XS | DV-991 Position Switch Closed | - | - | 24 | VDC |  |  | 2 | 2 | 11 | DO | 20211-DO | 9375 | Main
DV-991 XO | DV-991 Position Switch Open | - | - | 24 | VDC |  |  | 2 | 2 | 12 | DO | 20212-DO | 9375 | Main
VFD-210 RE | VFD-210 Run Command | - | - | 24 | VDC |  |  | 2 | 2 | 13 | DO | 20213-DO | 9375 | Main
VFD-220 RE | VFD-220 Run Command | - | - | 24 | VDC |  |  | 2 | 2 | 14 | DO | 20214-DO | 9375 | Main
VFD-700 RE | VFD-700 Run Command | - | - | 24 | VDC |  |  | 2 | 2 | 15 | DO | 20215-DO | 9375 | Main
VFD-770 RE | VFD-770 Run Command | - | - | 24 | VDC |  |  | 2 | 2 | 16 | DO | 20216-DO | 9375 | Main
VFD-350 RE | VFD-350 Run Command | - | - | 24 | VDC |  |  | 2 | 2 | 17 | DO | 20217-DO | 9375 | Main
VFD-900 RE | VFD-900 Run Command | - | - | 24 | VDC |  |  | 2 | 2 | 18 | DO | 20218-DO | 9375 | Main
SCR-401 RE | SCR-101 Run Command | - | - | 24 | VDC | ABB | DCT880 | 2 | 2 | 19 | DO | 20219-DO | 9375 | Main
SCR-402 RE | SCR-102 Run Command | - | - | 24 | VDC | ABB | DCT880 | 2 | 2 | 20 | DO | 20220-DO | 9375 | Main
SCR-403 RE | SCR-103 Run Command | - | - | 24 | VDC | ABB | DCT880 | 2 | 2 | 21 | DO | 20221-DO | 9375 | Main
SCR-404 RE | SCR-104 Run Command | - | - | 24 | VDC | ABB | DCT880 | 2 | 2 | 22 | DO | 20222-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 23 | DO | 20223-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 24 | DO | 20224-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 25 | DO | 20225-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 26 | DO | 20226-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 27 | DO | 20227-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 28 | DO | 20228-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 29 | DO | 20229-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 30 | DO | 20230-DO | 9375 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 2 | 31 | DO | 20231-DO | 9375 | Main
SV-001 | SV-001 Open | - | - | 24 | VDC |  |  | 2 | 3 | 0 | SSR | 20300-SSR | 9485 | Main
SV-002 | SV-002 Open | - | - | 24 | VDC |  |  | 2 | 3 | 1 | SSR | 20301-SSR | 9485 | Main
SV-130 | SV-130 Open | - | - | 24 | VDC |  |  | 2 | 3 | 2 | SSR | 20302-SSR | 9485 | Main
SV-160 | SV-160 Open | - | - | 24 | VDC |  |  | 2 | 3 | 3 | SSR | 20303-SSR | 9485 | Main
SV-200 | SV-200 Open | - | - | 24 | VDC |  |  | 2 | 3 | 4 | SSR | 20304-SSR | 9485 | Main
SV-201 | SV-201 Open | - | - | 24 | VDC |  |  | 2 | 3 | 5 | SSR | 20305-SSR | 9485 | Main
SV-202 | SV-202 Open | - | - | 24 | VDC |  |  | 2 | 3 | 6 | SSR | 20306-SSR | 9485 | Main
SV-204 | SV-204 Open | - | - | 24 | VDC |  |  | 2 | 3 | 7 | SSR | 20307-SSR | 9485 | Main
SV-230 | SV-230 Open | - | - | 24 | VDC |  |  | 2 | 4 | 0 | SSR | 20400-SSR | 9485 | Main
SV-231 | SV-231 Open | - | - | 24 | VDC |  |  | 2 | 4 | 1 | SSR | 20401-SSR | 9485 | Main
SV-252 | SV-252 Open | - | - | 24 | VDC |  |  | 2 | 4 | 2 | SSR | 20402-SSR | 9485 | Main
SV-261 | SV-261 Open | - | - | 24 | VDC |  |  | 2 | 4 | 3 | SSR | 20403-SSR | 9485 | Main
SV-262 | SV-262 Open | - | - | 24 | VDC |  |  | 2 | 4 | 4 | SSR | 20404-SSR | 9485 | Main
SV-300 | SV-300 Open | - | - | 24 | VDC |  |  | 2 | 4 | 5 | SSR | 20405-SSR | 9485 | Main
SV-321 | SV-321 Open | - | - | 24 | VDC |  |  | 2 | 4 | 6 | SSR | 20406-SSR | 9485 | Main
SV-322 | SV-322 Open | - | - | 24 | VDC |  |  | 2 | 4 | 7 | SSR | 20407-SSR | 9485 | Main
SV-323 | SV-323 Open | - | - | 24 | VDC |  |  | 2 | 5 | 0 | SSR | 20500-SSR | 9485 | Main
SV-324 | SV-324 Open | - | - | 24 | VDC |  |  | 2 | 5 | 1 | SSR | 20501-SSR | 9485 | Main
SV-325 | SV-325 Open | - | - | 24 | VDC |  |  | 2 | 5 | 2 | SSR | 20502-SSR | 9485 | Main
SV-326 | SV-326 Open | - | - | 24 | VDC |  |  | 2 | 5 | 3 | SSR | 20503-SSR | 9485 | Main
SV-327 | SV-327 Open | - | - | 24 | VDC |  |  | 2 | 5 | 4 | SSR | 20504-SSR | 9485 | Main
SV-328 | SV-328 Open | - | - | 24 | VDC |  |  | 2 | 5 | 5 | SSR | 20505-SSR | 9485 | Main
SV-329 | SV-329 Open | - | - | 24 | VDC |  |  | 2 | 5 | 6 | SSR | 20506-SSR | 9485 | Main
SV-350 | SV-350 Open | - | - | 24 | VDC |  |  | 2 | 5 | 7 | SSR | 20507-SSR | 9485 | Main
SV-900 | SV-900 Open | - | - | 24 | VDC |  |  | 2 | 6 | 0 | SSR | 20600-SSR | 9485 | Main
SV-901 | SV-901 Open | - | - | 24 | VDC |  |  | 2 | 6 | 1 | SSR | 20601-SSR | 9485 | Main
SV-991 | SV-991 Open | - | - | 24 | VDC |  |  | 2 | 6 | 2 | SSR | 20602-SSR | 9485 | Main
C-171 | SCR-171 contactor on | - | - | 24 | VDC |  |  | 2 | 6 | 3 | SSR | 20603-SSR | 9485 | Main
C-210 | VFD-210 contactor on | - | - | 24 | VDC |  |  | 2 | 6 | 4 | SSR | 20604-SSR | 9485 | Main
C-211 | SCR-211 contactor on | - | - | 24 | VDC |  |  | 2 | 6 | 5 | SSR | 20605-SSR | 9485 | Main
C-220 | VFD-220 contactor on | - | - | 24 | VDC |  |  | 2 | 6 | 6 | SSR | 20606-SSR | 9485 | Main
C-221 | SCR-211 contactor on | - | - | 24 | VDC |  |  | 2 | 6 | 7 | SSR | 20607-SSR | 9485 | Main
C-401 | SCR-401 contactor on | - | - | 24 | VDC |  |  | 2 | 7 | 0 | SSR | 20700-SSR | 9213 | Main
C-402 | SCR-402 contactor on | - | - | 24 | VDC |  |  | 2 | 7 | 1 | SSR | 20701-SSR | 9213 | Main
C-403 | SCR-403 contactor on | - | - | 24 | VDC |  |  | 2 | 7 | 2 | SSR | 20702-SSR | 9213 | Main
C-700 | VFD-700 contactor on | - | - | 24 | VDC |  |  | 2 | 7 | 3 | SSR | 20703-SSR | 9213 | Main
C-770 | VFD-770 contactor on | - | - | 24 | VDC |  |  | 2 | 7 | 4 | SSR | 20704-SSR | 9213 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 7 | 5 | SSR | 20705-SSR | 9213 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 7 | 6 | SSR | 20706-SSR | 9213 | Main
-SPARE- |  | - | - | 24 | VDC |  |  | 2 | 7 | 7 | SSR | 20707-SSR | 9213 | Main
TF-001 A | Storage Tank Temperature |  |  |  | degF |  |  | 2 | 8 | 0 | TC | 20800-TC | 9213 | Main
TF-001 B | Storage Tank Temperature |  |  |  | degF |  |  | 2 | 8 | 1 | TC | 20801-TC | 9213 | Main
TF-001 C | Storage Tank Temperature |  |  |  | degF |  |  | 2 | 8 | 2 | TC | 20802-TC | 9213 | Main
TF-001 D | Storage Tank Temperature |  |  |  | degF |  |  | 2 | 8 | 3 | TC | 20803-TC | 9213 | Main
TF-100 A | MCP-101 Inlet Temperature |  |  |  | degF |  |  | 2 | 8 | 4 | TC | 20804-TC | 9213 | Main
TF-100 B | MCP-101 Inlet Temperature |  |  |  | degF |  |  | 2 | 8 | 5 | TC | 20805-TC | 9213 | Main
TF-100 C | MCP-101 Inlet Temperature |  |  |  | degF |  |  | 2 | 8 | 6 | TC | 20806-TC | 9213 | Main
TF-101 A | MCP-101 Outlet Temperature |  |  |  | degF |  |  | 2 | 8 | 7 | TC | 20807-TC | 9213 | Main
TF-101 B | MCP-101 Outlet Temperature |  |  |  | degF |  |  | 2 | 8 | 8 | TC | 20808-TC | 9213 | Main
TF-101 C | MCP-101 Outlet Temperature |  |  |  | degF |  |  | 2 | 8 | 9 | TC | 20809-TC | 9213 | Main
TS-120 | FCV-120 Bonnet Temperature |  |  |  | degF |  |  | 2 | 8 | 10 | TC | 20810-TC | 9213 | Main
TS-121 | FCV-121 Bonnet Temperature |  |  |  | degF |  |  | 2 | 8 | 11 | TC | 20811-TC | 9213 | Main
TS-130 | IV-130 Bonnet Temperature |  |  |  | degF |  |  | 2 | 8 | 12 | TC | 20812-TC | 9213 | Main
TF-130 A | Test Section Inlet Temperature |  |  |  | degF |  |  | 2 | 8 | 13 | TC | 20813-TC | 9213 | Main
TF-130 B | Test Section Inlet Temperature |  |  |  | degF |  |  | 2 | 8 | 14 | TC | 20814-TC | 9213 | Main
TF-130 C | Test Section Inlet Temperature |  |  |  | degF |  |  | 2 | 8 | 15 | TC | 20815-TC | 9213 | Main
TF-140 A | Test Section Drain Temperature |  |  |  | degF |  |  | 3 | 1 | 0 | TC | 30100-TC | 9213 | Main
TF-140 B | Test Section Drain Temperature |  |  |  | degF |  |  | 3 | 1 | 1 | TC | 30101-TC | 9213 | Main
TF-140C | Test Section Drain Temperature |  |  |  | degF |  |  | 3 | 1 | 2 | TC | 30102-TC | 9213 | Main
TS-160 | IV-160 Bonnet Temperature |  |  |  | degF |  |  | 3 | 1 | 3 | TC | 30103-TC | 9213 | Main
TF-160 A | Test Section Outlet Temperature |  |  |  | degF |  |  | 3 | 1 | 4 | TC | 30104-TC | 9213 | Main
TF-160 B | Test Section Outlet Temperature |  |  |  | degF |  |  | 3 | 1 | 5 | TC | 30105-TC | 9213 | Main
TF-160 C | Test Section Outlet Temperature |  |  |  | degF |  |  | 3 | 1 | 6 | TC | 30106-TC | 9213 | Main
TS-170 | FCV-170 Bonnet Temperature |  |  |  | degF |  |  | 3 | 1 | 7 | TC | 30107-TC | 9213 | Main
TF-180 A | HX-700 Inlet Temperature |  |  |  | degF |  |  | 3 | 1 | 8 | TC | 30108-TC | 9213 | Main
TF-180 B | HX-700 Inlet Temperature |  |  |  | degF |  |  | 3 | 1 | 9 | TC | 30109-TC | 9213 | Main
TF-180 C | HX-700 Inlet Temperature |  |  |  | degF |  |  | 3 | 1 | 10 | TC | 30110-TC | 9213 | Main
TF-181 A | HX-700 Outlet Temperature |  |  |  | degF |  |  | 3 | 1 | 11 | TC | 30111-TC | 9213 | Main
TF-181 B | HX-700 Outlet Temperature |  |  |  | degF |  |  | 3 | 1 | 12 | TC | 30112-TC | 9213 | Main
TF-181 C | HX-700 Outlet Temperature |  |  |  | degF |  |  | 3 | 1 | 13 | TC | 30113-TC | 9213 | Main
TF-200 A | Day Tank Temperature |  |  |  | degF |  |  | 3 | 1 | 14 | TC | 30114-TC | 9213 | Main
TF-200 B | Day Tank Temperature |  |  |  | degF |  |  | 3 | 1 | 15 | TC | 30115-TC | 9213 | Main
TF-200 C | Day Tank Temperature |  |  |  | degF |  |  | 3 | 2 | 0 | TC | 30200-TC | 9213 | Main
TF-200 D | Day Tank Temperature |  |  |  | degF |  |  | 3 | 2 | 1 | TC | 30201-TC | 9213 | Main
TF-210 A | Cold Trap Temperature |  |  |  | degF |  |  | 3 | 2 | 2 | TC | 30202-TC | 9213 | Main
TF-210 B | Cold Trap Temperature |  |  |  | degF |  |  | 3 | 2 | 3 | TC | 30203-TC | 9213 | Main
TF-210 C | Cold Trap Temperature |  |  |  | degF |  |  | 3 | 2 | 4 | TC | 30204-TC | 9213 | Main
TF-210 D | Cold Trap Temperature |  |  |  | degF |  |  | 3 | 2 | 5 | TC | 30205-TC | 9213 | Main
TF-211 | Cold Trap Inlet Temperature |  |  |  | degF |  |  | 3 | 2 | 6 | TC | 30206-TC | 9213 | Main
TF-700 | HX-700 Air Inlet Temperature |  |  |  | degF |  |  | 3 | 2 | 7 | TC | 30207-TC | 9213 | Main
TF-701 | HX-700 Ait Outlet Temperature |  |  |  | degF |  |  | 3 | 2 | 8 | TC | 30208-TC | 9213 | Main
TF-900 A | Waste Tank Temperature |  |  |  | degF |  |  | 3 | 2 | 9 | TC | 30209-TC | 9213 | Main
TF-900 B | Waste Tank Temperature |  |  |  | degF |  |  | 3 | 2 | 10 | TC | 30210-TC | 9213 | Main
TF-001 | Main Confinement Ambient Temperature |  |  |  | degF |  |  | 3 | 2 | 11 | TC | 30211-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 2 | 12 | TC | 30212-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 2 | 13 | TC | 30213-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 2 | 14 | TC | 30214-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 2 | 15 | TC | 30215-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 0 | TC | 30300-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 1 | TC | 30301-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 2 | TC | 30302-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 3 | TC | 30303-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 4 | TC | 30304-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 5 | TC | 30305-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 6 | TC | 30306-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 7 | TC | 30307-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 8 | TC | 30308-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 9 | TC | 30309-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 10 | TC | 30310-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 11 | TC | 30311-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 12 | TC | 30312-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 13 | TC | 30313-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 14 | TC | 30314-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 3 | 15 | TC | 30315-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 0 | TC | 30400-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 1 | TC | 30401-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 2 | TC | 30402-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 3 | TC | 30403-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 4 | TC | 30404-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 5 | TC | 30405-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 6 | TC | 30406-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 7 | TC | 30407-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 8 | TC | 30408-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 9 | TC | 30409-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 10 | TC | 30410-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 11 | TC | 30411-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 12 | TC | 30412-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 13 | TC | 30413-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 14 | TC | 30414-TC | 9213 | Main
-SPARE- |  |  |  |  | degF |  |  | 3 | 4 | 15 | TC | 30415-TC | 9213 | Main
LT-400 | Test Section Level |  |  | 4-20 | mA |  |  | 4 | 1 | 0 | AI | 40100-AI | 9208 | Test Section
PIT-402 | Test Element Inlet Pressure |  |  | 4-20 | mA | Rosemount | 3051T… | 4 | 1 | 1 | AI | 40101-AI | 9208 | Test Section
DP-402 | Test Element Differential Pressure 1 |  |  | 4-20 | mA | Rosemount | 3051C… | 4 | 1 | 2 | AI | 40102-AI | 9208 | Test Section
DP-403 | Test Element Differential Pressure 2 |  |  | 4-20 | mA | Rosemount | 3051C… | 4 | 1 | 3 | AI | 40103-AI | 9208 | Test Section
DP-404 | Test Element Differential Pressure 3 |  |  | 4-20 | mA | Rosemount | 3051C… | 4 | 1 | 4 | AI | 40104-AI | 9208 | Test Section
DP-405 | Test Element Differential Pressure 4 |  |  | 4-20 | mA | Rosemount | 3051C… | 4 | 1 | 5 | AI | 40105-AI | 9208 | Test Section
DP-406 | Test Element Differential Pressure 5 |  |  | 4-20 | mA | Rosemount | 3051C… | 4 | 1 | 6 | AI | 40106-AI | 9208 | Test Section
PIT-406 | Test Element Outlet Pressure |  |  | 4-20 | mA | Rosemount | 3051T… | 4 | 1 | 7 | AI | 40107-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 8 | AI | 40108-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 9 | AI | 40109-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 10 | AI | 40110-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 11 | AI | 40111-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 12 | AI | 40112-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 13 | AI | 40113-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 14 | AI | 40114-AI | 9208 | Test Section
-SPARE- |  |  |  | 4-20 | mA |  |  | 4 | 1 | 15 | AI | 40115-AI | 9208 | Test Section
LSH-400 | Test Section Level Switch High | - | - | 24 | VDC |  |  | 4 | 2 | 0 | DI | 40200-DI | 9375 | Test Section
LSL-400 | Test Section Level Switch Low | - | - | 24 | VDC |  |  | 4 | 2 | 1 | DI | 40201-DI | 9375 | Test Section
LSH-401 | Test Section Level Switch High High | - | - | 24 | VDC |  |  | 4 | 2 | 2 | DI | 40202-DI | 9375 | Test Section
LSL-401 | Test Section Level Switch Low Low | - | - | 24 | VDC |  |  | 4 | 2 | 3 | DI | 40203-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 4 | DI | 40204-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 5 | DI | 40205-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 6 | DI | 40206-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 7 | DI | 40207-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 8 | DI | 40208-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 9 | DI | 40209-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 10 | DI | 40210-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 11 | DI | 40211-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 12 | DI | 40212-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 13 | DI | 40213-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 14 | DI | 40214-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 15 | DI | 40215-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 16 | DI | 40216-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 17 | DI | 40217-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 18 | DI | 40218-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 19 | DI | 40219-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 20 | DI | 40220-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 21 | DI | 40221-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 22 | DI | 40222-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 23 | DI | 40223-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 24 | DI | 40224-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 25 | DI | 40225-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 26 | DI | 40226-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 27 | DI | 40227-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 28 | DI | 40228-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 29 | DI | 40229-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 30 | DI | 40230-DI | 9375 | Test Section
-SPARE- |  | - | - | 24 | VDC |  |  | 4 | 2 | 31 | DI | 40231-DI | 9375 | Test Section
TF-401 A |  |  |  |  | degF |  |  | 4 | 3 | 0 | TC | 40300-TC | 9213 | Test Section
TF-401 B |  |  |  |  | degF |  |  | 4 | 3 | 1 | TC | 40301-TC | 9213 | Test Section
TF-401 C |  |  |  |  | degF |  |  | 4 | 3 | 2 | TC | 40302-TC | 9213 | Test Section
TF-401 D |  |  |  |  | degF |  |  | 4 | 3 | 3 | TC | 40303-TC | 9213 | Test Section
TF-401 E |  |  |  |  | degF |  |  | 4 | 3 | 4 | TC | 40304-TC | 9213 | Test Section
TF-401 F |  |  |  |  | degF |  |  | 4 | 3 | 5 | TC | 40305-TC | 9213 | Test Section
TF-401 G |  |  |  |  | degF |  |  | 4 | 3 | 6 | TC | 40306-TC | 9213 | Test Section
TF-401 H |  |  |  |  | degF |  |  | 4 | 3 | 7 | TC | 40307-TC | 9213 | Test Section
TF-402 A |  |  |  |  | degF |  |  | 4 | 3 | 8 | TC | 40308-TC | 9213 | Test Section
TF-402 B |  |  |  |  | degF |  |  | 4 | 3 | 9 | TC | 40309-TC | 9213 | Test Section
TF-402 C |  |  |  |  | degF |  |  | 4 | 3 | 10 | TC | 40310-TC | 9213 | Test Section
TF-403 A |  |  |  |  | degF |  |  | 4 | 3 | 11 | TC | 40311-TC | 9213 | Test Section
TF-403 B |  |  |  |  | degF |  |  | 4 | 3 | 12 | TC | 40312-TC | 9213 | Test Section
TF-403 C |  |  |  |  | degF |  |  | 4 | 3 | 13 | TC | 40313-TC | 9213 | Test Section
TF-404 A |  |  |  |  | degF |  |  | 4 | 3 | 14 | TC | 40314-TC | 9213 | Test Section
TF-404 B |  |  |  |  | degF |  |  | 4 | 3 | 15 | TC | 40315-TC | 9213 | Test Section
TF-404 C |  |  |  |  | degF |  |  | 4 | 4 | 0 | TC | 40400-TC | 9213 | Test Section
TF-405 A |  |  |  |  | degF |  |  | 4 | 4 | 1 | TC | 40401-TC | 9213 | Test Section
TF-405 B |  |  |  |  | degF |  |  | 4 | 4 | 2 | TC | 40402-TC | 9213 | Test Section
TF-405 C |  |  |  |  | degF |  |  | 4 | 4 | 3 | TC | 40403-TC | 9213 | Test Section
TF-406 A |  |  |  |  | degF |  |  | 4 | 4 | 4 | TC | 40404-TC | 9213 | Test Section
TF-406 B |  |  |  |  | degF |  |  | 4 | 4 | 5 | TC | 40405-TC | 9213 | Test Section
TF-406 C |  |  |  |  | degF |  |  | 4 | 4 | 6 | TC | 40406-TC | 9213 | Test Section
TF-407 A |  |  |  |  | degF |  |  | 4 | 4 | 7 | TC | 40407-TC | 9213 | Test Section
TF-407 B |  |  |  |  | degF |  |  | 4 | 4 | 8 | TC | 40408-TC | 9213 | Test Section
TF-407 C |  |  |  |  | degF |  |  | 4 | 4 | 9 | TC | 40409-TC | 9213 | Test Section
TF-408 A |  |  |  |  | degF |  |  | 4 | 4 | 10 | TC | 40410-TC | 9213 | Test Section
TF-408 B |  |  |  |  | degF |  |  | 4 | 4 | 11 | TC | 40411-TC | 9213 | Test Section
TF-408 C |  |  |  |  | degF |  |  | 4 | 4 | 12 | TC | 40412-TC | 9213 | Test Section
TF-408 D |  |  |  |  | degF |  |  | 4 | 4 | 13 | TC | 40413-TC | 9213 | Test Section
TF-408 E |  |  |  |  | degF |  |  | 4 | 4 | 14 | TC | 40414-TC | 9213 | Test Section
TF-408 F |  |  |  |  | degF |  |  | 4 | 4 | 15 | TC | 40415-TC | 9213 | Test Section
TF-408 G |  |  |  |  | degF |  |  | 4 | 5 | 0 | TC | 40500-TC | 9213 | Test Section
TF-408 H |  |  |  |  | degF |  |  | 4 | 5 | 1 | TC | 40501-TC | 9213 | Test Section
TF-400 | Test Section Confinement Ambient Temp. |  |  |  | degF |  |  | 4 | 5 | 2 | TC | 40502-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 3 | TC | 40503-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 4 | TC | 40504-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 5 | TC | 40505-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 6 | TC | 40506-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 7 | TC | 40507-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 8 | TC | 40508-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 9 | TC | 40509-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 10 | TC | 40510-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 11 | TC | 40511-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 12 | TC | 40512-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 13 | TC | 40513-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 14 | TC | 40514-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 5 | 15 | TC | 40515-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 0 | TC | 40600-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 1 | TC | 40601-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 2 | TC | 40602-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 3 | TC | 40603-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 4 | TC | 40604-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 5 | TC | 40605-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 6 | TC | 40606-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 7 | TC | 40607-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 8 | TC | 40608-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 9 | TC | 40609-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 10 | TC | 40610-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 11 | TC | 40611-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 12 | TC | 40612-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 13 | TC | 40613-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 14 | TC | 40614-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 6 | 15 | TC | 40615-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 0 | TC | 40700-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 1 | TC | 40701-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 2 | TC | 40702-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 3 | TC | 40703-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 4 | TC | 40704-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 5 | TC | 40705-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 6 | TC | 40706-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 7 | TC | 40707-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 8 | TC | 40708-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 9 | TC | 40709-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 10 | TC | 40710-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 11 | TC | 40711-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 12 | TC | 40712-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 13 | TC | 40713-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 14 | TC | 40714-TC | 9213 | Test Section
-SPARE- |  |  |  |  | degF |  |  | 4 | 7 | 15 | TC | 40715-TC | 9213 | Test Section