## Main Summary
APPENDIX 5.04a
Project Information
Name of Bidding Contractor:
DETAILED COST BREAKDOWN - MAIN BUILDING
Rev 0
|  | Capital & Expense |  |  |  | Cap + Exp | Cap + Exp | Rev 0 - Rev 1
Scope Ref | Description | Main Building Bid Breakout | Items Included | Comments | Check | TOTAL | $/GSF | Delta
CATEGORY A SCOPE ITEMS |  |  |  |  | #REF! | 6128842.675 | 40.859 | #REF!
1 | Re - pipe domestic water |  | -Copper re-piping at horizontals, verticals & mains of entire building. -Wirsbo or copper re-piping at branches. | -Does not include ABI #12 to replace 12x12 ceiling panels with 18x18. |  | 6128842.675 | 40.859 | #REF!
2b | Mechanical and electrical work to support the re-roof |  | -Roof & rooftop AHU's replacement. Add (7) new overflow drains and associated piping including rerouting of electrical power. | See mechanical and electrical drawings for the roof level. |  | 177892.1667 | 1.1859 | #REF!
3 | Not used |  |  |  |  | 4059820.985 | 27.0655 | #REF!
4 | Fire panel upgrades |  | -Fire panel upgrade and fire alarm audibility enhancements. |  |  | 0 | 0 | #REF!
5 | Not used |  |  |  |  | 5549202.835 | 36.9947 | #REF!
6 | Heaters - in room |  | -Replace heaters in rooms with non digital thermostat (ABI #10). | - Digital thermostat not required. - Does not include ABI #7 to relocate telecom outlets in the rooms. |  | 534989.1372 | 3.5666 | #REF!
7 | Hot Water Boilers |  | -Boiler replacement with (3) A.O. Smith BTH-5001 boilers and replace expansion tank and associated piping (ABI #6). | -Gas, water and electrical meters not required. | Alternative No. 4 - Lounge Ceiling – Do not install alcove and use the existing ceiling grid. | 1426617.5312 | 9.5108 | #REF!
8 | Lighting corridors, lobby and lounge |  | -New lounge and lobby lighting and new 4' fixtures in the corridors with (2) 4' tubes per fixture. |  |  | 7530003.1162 | 50.2 | #REF!
9 | Sealing exterior |  | -Sealing of exterior (ABI #1) |  | Alternative No. 5 - Replace parking garage lighting using a performance spec. | 3986743.279 | 26.5783 | #REF!
10 | Not used |  |  |  |  | 937603.5069 | 6.2507 | #REF!
11 | Not used |  |  |  | Alternative No. 5a - Replace parking garage lighting using the design and layout shown on the electrical design drawings. | 139005.675 | 0.9267 | #REF!
12 | Windows - replace failed |  | -Replace failing windows (ABI #8) |  |  | 160252.625 | 1.0684 | #REF!
13 | Retro fit room lights |  | -Kitchen: (2) 6" Halo down lights and new lens for exst. fluorescent. - Living Room: Add ceiling light (ABI #9) |  | Alternative No. 6 – Replace boilers including piping, electrical and controls. | 540987.5 | 3.6066 | #REF!
14 | Not used |  |  |  |  | 885952.75 | 5.9064 | #REF!
15 | Flooring - common areas |  | -New flooring and rubber base in lounge, lobby and corridors. | Does not include ABI #2 to lower the grade of the carpet. |  | 574437.9462 | 3.8296 | #REF!
16 | Not used |  |  |  |  | 451867.0445 | 3.0124 | #REF!
17 | Fire sprinkler heads and piping |  | -Addition of sprinklers in the (4) ADA rooms. -Repiping additional sprinklers in (4) ADA rooms |  |  | 6279985.9489 | 41.8666 | #REF!
18 | Add ADA showers |  | -Replace showers in 4 ADA rooms. |  |  | 7278781.8848 | 48.5252 | #REF!
| CATEGORY A COST OF WORK SUB-TOTAL | 0 |  |  | Alternative No. 9 - Add (1) living room light in all of the units. | 53417884.9971 | 356.1192 | 356.1192
CATEGORY B SCOPE ITEMS | [5 empty] | 6128842.675 | 40.859 | #REF!
1 | Kitchen - Cabinets, appliances and fixtures |  | -Refaced cabinets, new expanded size appliances, removal of peninsula upper cabinet. -Reconfigured kitchens in 4 ADA units. -New plumbing fixtures. - New countertops and backsplashes. |  | Alternative No. 10 - Replace (2) electric heaters in all of the units. | 6128842.675 | 40.859 | #REF!
2 | Counter tops - kitchen |  | -New counter tops and backsplash in all rooms. |  |  | 177892.1667 | 1.1859 | #REF!
3 | Bathrooms - Cabinets, fixtures and accessories |  | -New cabinets -New sinks, tubs, toilets and associated fixtures. -New accessories including mirrors, shower rod, curtain and grab bars. -Reconfigured bathrooms with roll in showers for 4 ADA units. -Remodel ADA bathroom on the 1st floor. |  |  | 4059820.985 | 27.0655 | #REF!
4 | Flooring - carpet & linoleum |  | -New flooring in rooms. | -Does not include ABI #2 to lower the grade of the carpet. |  | 0 | 0 | #REF!
5 | Replace tubs, toilets, and sinks |  | - Replace tubs, toilets & sinks including mirrors, shower rod and curtain and grab bars. |  |  | 5549202.835 | 36.9947 | #REF!
6 | Window coverings |  | -Replace window coverings as specified on drawings (ABI #3). |  |  | 534989.1372 | 3.5666 | #REF!
7 | Replace garbage chute |  | -Change garbage chute doors and man doors. | -Garbage chute not required to be replaced. |  | 1426617.5312 | 9.5108 | #REF!
8 | Refurbish room doors |  | -New doors and hardware for (4) ADA room units. -Refurbish all room doors. |  |  | 7530003.1162 | 50.2 | #REF!
9 | Signage |  |  | -PSU to replace signage and coordinate installation with GC. |  | 3986743.279 | 26.5783 | #REF!
10 | Lobby/lounge/laundry room |  | -Replace ceilings in lobby and lounge. -Wood, alcove ceiling included (ABI #4). -New cabinetry in 1st floor laundry and 1st floor lounge. -ADA powered door at 1st floor laundry. -ADA powered door at 1st floor lobby door. |  |  | 937603.5069 | 6.2507 | #REF!
11 | Paint |  | -Paint entire interior - 1 primer and 2 finish coats. |  |  | 139005.675 | 0.9267 | #REF!
| CATEGORY B COST OF WORK SUB-TOTAL | 0 |  |  |  | 709335.6348 | 4.7289 | 4.7289
| GC General Conditions and Job Site Management Costs |  | -Job Site Trailer |  |  | 709335.6348 | 4.7289 | #REF!
| GC COSTS SUB-TOTAL | 0 |  |  |  | 709335.6348 | 4.7289 | 4.7289
| TOTAL PROJECT COST | 0 |  |  |  | 60396941.3819 | 402.6463 | #REF!